Certificate of Compliance with Healthcare Engineering Requirements Code of Practice for Clinics (Cap. 633)

Specialized ventilation system

Section A

Information of the Clinic and service covered by the application:

| Clinic Name | : | Example: ABC Medical Centre |
| --- | --- | --- |
| Service | : | Clinical and Clinical Supporting Service(s) |
| Service Location | : | Example: Unit 1103, 11/F, ABC Commercial Centre, XXX Nathan Road, Mongkok, Kowloon, Hong Kong |

Section B

I, as the (***please select***) of the Clinic, declare that I have arranged a Registered Professional Engineer (R.P.E.) to certify in Section C that the specialized ventilation system(s) for the service described in Section A to be in compliance with the requirements in the Code of Practice for Clinics and the relevant requirements in the Code of Practice for Day Procedure Centres, and I hereby warrant that the specialized ventilation system(s) comply with the requirements of the Code of Practice for Clinics and the relevant requirements in the Code of Practice for Day Procedure Centres.

| Name | : | Example: CHAN Tai Man |
| --- | --- | --- |
| Post Title | : | Example: Chief Medical Executive |
| Signature | : |  |
| Date | : |  |
| Company Chop | : |  |

Section C

I, as a Registered Professional Engineer (R.P.E.), certify that the specialized ventilation system(s) for the service described in Section A have been designed, installed and completed in compliance with the Code of Practice for Clinics and the relevant requirements in the Code of Practice for Day Procedure Centres, and in accordance with the specified standard(s) (namely ***please specify***) and requirements described herewith.

| Location | Differential Pressure to Adjacent Areas (Pa) | Minimum Air Change per Hour (Outdoor air / Total air) (ACH) | Minimum Filter Efficiency (Outdoor air / Recirculating air) | Design Room Temperature (oC) | Design Relative Humidity (%) |
| --- | --- | --- | --- | --- | --- |
| Example: Operating Room | at least +2.5 | 4 / 20 | MERV-16 / HEPA | 20 - 24 | 20 - 60 |
| - | - | - | - | - | - |
| - | - | - | - | - | - |
| - | - | - | - | - | - |
| - | - | - | - | - | - |
| - | - | - | - | - | - |
| - | - | - | - | - | - |
| - | - | - | - | - | - |
| - | - | - | - | - | - |

Section C (cont.)

The particulars of the specialized ventilation system(s) are shown in the following schematic diagrams(s) and layout plan(s):

| Drawing No. | Revision | Drawing Title |
| --- | --- | --- |
| Example: AC/S/01 | 1 | Air-conditioning and Mechanical System - Air-side Schematic Diagram |
| Example: AC/L/01 | 0 | Air-conditioning and Mechanical System - Air-side Layout Plan at 11/F |
| - | - | - |
| - | - | - |
| - | - | - |
| - | - | - |
| - | - | - |

I also confirm that I have personally inspected the specialized ventilation system(s) covered by this certificate and the results of the inspection are satisfactory.

| Name | : | Example: LEE Chi Nan |
| --- | --- | --- |
| R.P.E. Number | : | Example: RPE123456 |
| Discipline | : | Please select |
| Signature | : |  |
| Date | : |  |

A Registered Professional Engineer (R.P.E.) certifying a specialized ventilation system shall be registered in the mechanical discipline or building services discipline with the Engineers Registration Board under the Engineers Registration Ordinance (Cap. 409).